## Sheet1
Beads Project Ordered qty V/s Inventory status
Sr No | Project | PRF Date | PRF No. | PO | Material | Short Text | Delivery Date | Qty | Unit of Measure | Total Value | Inventory Status
1 | Beads Project | 2016-10-21 | 1100026413 | 3200030853 |  | Bead Instrumentation work | 20161022 | 1 | AU | 14182 | Consumed total Qty
2 | Beads Project | 2016-08-03 | 1100024909 | 3000033603 | 1317640 | ULTRA SEARCH METAL DETECTOR | 20160828 | 1 | NOS | 430000 | Consumed total Qty
3 | Beads Project | 2016-06-28 | 1100024170 | 3000032846 | 1303246 | AIR DISTRIBUTION MANIFOLD 10 WAY | 20160630 | 1 | NOS | 6000 | Consumed total Qty
4 | Beads Project | 2016-06-21 | 1100023992 | 3000032552 | 1324708 | CONNECTOR 1/2" NPT(M) X 3/8" BSP ( M) SS | 20160623 | 6 | NOS | 960 | Consumed total Qty
5 | Beads Project | 2016-06-21 | 1100023992 | 3000032552 | 1303284 | FLEXIBLE PU TUBE 8MM OD | 20160623 | 70 | M | 4900 | Consumed total Qty
6 | Beads Project | 2016-06-21 | 1100023992 | 3000032552 | 1305756 | COPPER TUBE 8MMX1.2MMTHK | 20160623 | 50 | M | 6750 | Consumed total Qty
7 | Beads Project | 2016-06-21 | 1100023992 | 3000032552 | 1303271 | CONNECTOR 8 MM OD X 1/2"NPT (M) SS316 | 20160623 | 45 | NOS | 4050 | Consumed total Qty
8 | Beads Project | 2016-06-21 | 1100023992 | 3000032552 | 1303296 | NIPPLE 1/2"NPT(M)X1/2"NPT(F),200 MM,SS31 | 20160623 | 10 | NOS | 2245.1 | Consumed total Qty
9 | Beads Project | 2016-06-21 | 1100023992 | 3000032552 | 1303344 | ADAPTER ½” NPT(F) X ½” NPT(F),SS316 | 20160623 | 5 | NOS | 587.1 | Consumed total Qty
10 | Beads Project | 2016-06-21 | 1100023992 | 3000032552 | 1324710 | CONNECTOR 1/4' BSP (M) X 8MM SS304 | 20160623 | 35 | NOS | 3500 | Consumed total Qty
11 | Beads Project | 2016-06-21 | 1100023992 | 3000032552 | 1308194 | NIPPLE HEX SS304 1/2"X1/2" | 20160622 | 2 | NOS | 400 | Consumed total Qty
12 | Beads Project | 2016-06-21 | 1100023992 | 3000032552 | 1324711 | CONNECTOR 3/8" BSP ( M)X 8MM SS304 | 20160623 | 4 | NOS | 400 | Consumed total Qty
13 | Beads Project | 2016-05-17 | 1100023173 | 3200028124 |  | Inst Erection for Beads Project | 20160518 | 1 | AU | 194425 | Consumed total Qty
14 | Beads Project | 2016-05-11 | 1100023058 | 3000031197 | 1301579 | CABLE TRAY GI PERFORATED TYPE 50X25X2MM | 20160523 | 70 | M | 8750 | Consumed total Qty
15 | Beads Project | 2016-05-11 | 1100023058 | 3000031197 | 1301575 | CABLE TRAY GI PERFORATED TYPE 100X25X2MM | 20160523 | 50 | M | 7500 | Consumed total Qty
16 | Beads Project | 2016-05-11 | 1100023059 | 3000031198 | 1300983 | CABLE GLAND BR.NI.PLT DBL COMP 1/2" NPT | 20160518 | 30 | NOS | 4500 | Consumed total Qty
17 | Beads Project | 2016-05-11 | 1100023059 | 3000031198 | 1300982 | CABLE GLAND BR.NI.PLT DBL COMP 1.1/4" ET | 20160518 | 10 | NOS | 3506.6 | Consumed total Qty
18 | Beads Project | 2016-05-11 | 1100023059 | 3000031198 | 1300981 | CABLE GLAND BR.NI.PLT DBL COMP 1.1/2"ET | 20160518 | 5 | NOS | 1750 | Consumed total Qty
19 | Beads Project | 2016-04-18 | 1100022558 | 3000031707 | 1300798 | JUNCTION BOX NFLP WEATHERPROOF-IP65 | 20160425 | 7 | NOS | 35000 | Consumed total Qty
20 | Beads Project | 2016-04-15 | 1100022526 | 3000030707 | 1303394 | INSTRUMENT CABLE 1PAIRX1SQ. MM. SCREENED | 20160425 | 300 | M | 12000 | Consumed total Qty
21 | Beads Project | 2016-04-15 | 1100022526 | 3000030707 | 1314563 | INSTRUMENT CABLE 3 CORE X 1.5 SQMM,FRL | 20160425 | 500 | M | 22500 | Consumed total Qty
22 | Beads Project | 2016-04-09 | 1100022421 | 3000030009 | 1316066 | WATER METER FLANGE 3" | 20160409 | 1 | NOS | 12000 | Consumed total Qty
23 | Beads Project | 2016-03-07 | 1100021732 | 3000029202 | 1302361 | FLOW TRANS.-MASS FLOW METER-SIZE-1" | 20160407 | 1 | NOS | 350000 | Consumed total Qty
Plant | Project | PRF Date | PRF | PO | Material | Short Text | Delivery Date | Qty | Unit | Total Value
1 | Bitumin Project | 2017-03-06 | 1100029022 | 3000039880 | 1303128 | PID TEMPRETURE CONTROLLER | 20170308 | 1 | NOS | 8000 | Consumed total Qty
2 | Bitumin Project | 2017-03-06 | 1100029054 | 3000040320 | 1325710 | TAPE GRAFSEAL GRAPHITE 1/2"X10M ADHESIVE | 20170308 | 3 | BOX | 1500 | Consumed total Qty
3 | Bitumin Project | 2017-02-14 | 1100028641 | 3000039271 | 1303163 | ELECTRONIC HOOTERS | 20170215 | 1 | NOS | 3000 | Consumed total Qty
4 | Bitumin Project | 2017-02-06 | 1100028492 | 3000038965 | 1302358 | SYPHON, 1/2"NPT (M) X 1/2"NPT (F) | 20170208 | 2 | NOS | 5000 | Consumed total Qty
5 | Bitumin Project | 2017-02-06 | 1100028492 | 3000038965 | 1302292 | PRESSURE GAUGE | 20170208 | 2 | NOS | 6000 | Consumed total Qty
6 | Bitumin Project | 2017-01-07 | 1100027850 | 3000038069 | 1303119 | FLOW INDICATOR CUM TOTATLIZER | 20170108 | 1 | NOS | 6000 | Consumed total Qty
7 | Bitumin Project | 2016-11-18 | 1100026876 | 3000036639 | 1301491 | FUSE GLASS SIZE 5X20MM 1 A | 20161119 | 100 | NOS | 360 | Consumed total Qty
8 | Bitumin Project | 2016-11-18 | 1100026876 | 3000036644 | 1301204 | CIRCUIT BREAKER MCB DOUBLE POLE 10 A | 20161119 | 1 | NOS | 386 | Consumed total Qty
9 | Bitumin Project | 2016-11-18 | 1100026876 | 3000036644 | 1301206 | CIRCUIT BREAKER MCB DOUBLE POLE 2 A | 20161119 | 3 | NOS | 1590 | Consumed total Qty
10 | Bitumin Project | 2016-10-14 | 1100026288 | 3000036216 | 1302542 | LEVEL GAUGE - FLOAT & BOARD TYPE-1. | 20161020 | 1 | NOS | 70000 | Consumed total Qty
11 | Bitumin Project | 2016-10-13 | 1100026257 | 3000035443 | 1303394 | INSTRUMENT CABLE 1PAIRX1SQ. MM. SCREENED | 20161015 | 150 | M | 6000 | Consumed total Qty
12 | Bitumin Project | 2016-10-13 | 1100026258 | 3000035718 | 1300010 | ANGLE M.S. ISA 50 X 50 X 6 MM | 20161015 | 100 | KG | 4000 | Consumed total Qty
13 | Bitumin Project | 2016-10-13 | 1100026271 | 3000035983 | 1302363 | FLOW TRANSMITTER - MASS FLOW METER | 20161020 | 1 | NOS | 800000 | Consumed total Qty
14 | Bitumin Project | 2016-10-13 | 1100026282 | 3200031265 |  | Inst Erection for Bitumin Project | 20161014 | 1 | AU | 54650 | Consumed total Qty
15 | Bitumin Project | 2016-10-04 | 1100026097 | 3000035487 | 1313791 | AUTOTUNE PID CONTROLLER | 20161006 | 2 | NOS | 10000 | Consumed total Qty
16 | Bitumin Project | 2016-10-04 | 1100026099 | 3000035456 | 1306497 | COPPER TUBE 8MM OD | 20161005 | 50 | M | 7500 | Consumed total Qty
17 | Bitumin Project | 2016-09-26 | 1100025957 | 3000035315 | 1302455 | TEMPERATURE GAUGE WITH THERMOWELL | 20160930 | 1 | NOS | 10000 | Consumed total Qty
18 | Bitumin Project | 2016-09-21 | 1100025837 | 3000035581 | 1302528 | LEVEL TRANSMITTER - RADAR TYPE | 20160922 | 1 | NOS | 150000 | Consumed total Qty
19 | Bitumin Project | 2016-09-20 | 1100025642 | 3000035076 | 1313791 | AUTOTUNE PID CONTROLLER | 20160921 | 1 | NOS | 5000 | Consumed total Qty
20 | Bitumin Project | 2016-09-20 | 1100025805 | 3000035315 | 1302405 | PT-100 RTD WITH THERMOWELL | 20160921 | 2 | NOS | 10000 | Consumed total Qty
21 | Bitumin Project | 2016-09-20 | 1100025805 | 3000035315 | 1302472 | THERMOWELL + RTD SENSOR PT-100 | 20160921 | 1 | NOS | 5000 | Consumed total Qty
22 | Bitumin Project | 2016-09-12 | 1100025642 | 3000035076 | 1302395 | DIGITAL TEMPERATURE INDICATOR | 20160920 | 3 | NOS | 13500 | Consumed total Qty
23 | Bitumin Project | 2016-09-12 | 1100025645 | 3000034652 | 1300983 | CABLE GLAND BR.NI.PLT DBL COMP 1/2" NPT | 20160920 | 5 | NOS | 1400 | Consumed total Qty
24 | Bitumin Project | 2016-09-12 | 1100025645 | 3000034652 | 1300985 | CABLE GLAND BR.NI.PLT DBL COMP 3/4" ET | 20160913 | 15 | NOS | 4500 | Consumed total Qty
25 | Bitumin Project | 2016-09-12 | 1100025652 | 3000035580 | 1316313 | CABLE TRAY GI PERFORATED 50X25X2MM -NOs | 20160913 | 100 | NOS | 12500 | Consumed total Qty
26 | Bitumin Project | 2016-09-09 | 1100025600 | 3000034650 | 1303394 | INSTRUMENT CABLE 1PAIRX1SQ. MM. SCREENED | 20160915 | 250 | M | 10000 | Consumed total Qty
27 | Bitumin Project | 2016-09-09 | 1100025600 | 3000034650 | 1314563 | INSTRUMENT CABLE 3 CORE X 1.5 SQMM,FRL | 20160915 | 150 | M | 8250 | Consumed total Qty
28 | Bitumin Project | 2016-09-09 | 1100025604 | 3000035455 | 1302344 | PRESSURE GAUGE DIAPHRAGM TYPE | 20160915 | 2 | NOS | 7000 | Consumed total Qty
29 | Bitumin Project | 2016-09-09 | 1100025604 | 3000035315 | 1322456 | BOURDON TYPE PRESSURE GAUGE | 20160915 | 3 | NOS | 3000 | Consumed total Qty
30 | Bitumin Project | 2016-09-09 | 1100025608 | 3000035518 | 1302388 | TEMP.TRANSMITTER 0-350°C 2WIRE | 20160910 | 3 | NOS | 7500 | 2 qty remaianing
31 | Bitumin Project | 2016-09-02 | 1100025488 | 3000034430 | 1325060 | STEAM PRESSURE REGULATING VALVE CS 2" | 20160910 | 1 | NOS | 80000 | Consumed total Qty
[9 empty] | Total cost | 1311636 | Out of toal cost less than 1% of inventory pending